| Record the Following: |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Caller: |  |  |  |  | Job title: |  |  |  |  |  |  |  |
| Address (including Postcode): |  |  |  |  | Manager’s name: |  |  |  |  |  |  |  |
| Telephone Number: |  |  |  |  | Mobile Number: |  |  |  |  |  |  |  |
| Location of gas/fumes escape: |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the escape controlled or uncontrolled? |  | Controlled: |  |  |  | Uncontrolled: |  |  |  |  |  |  |
| Has anyone been taken to hospital? Yes No |  | If answered yes ensure that the site is made safe if safe to do so. Contact the Health and safety team immediately and inform SGN and the contractors. The scene must not be disturbed pending investigation by the HSE. |  |  |  |  |  |  |  |  |  |  |
| Report received by: |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  | Job Role: |  |  |  |  |  |  |  |  |
| Date of call: |  |  |  | Time of call: |  |  |  |  |  |  |  |  |
| Action taken: |  |  |  |  |  |  |  |  |  |  |  |  |
| Passed to SGN: |  | Date: |  |  |  | Time: |  |  |  |  |  |  |
| SGN Reference Number: |  |  |  |  |  |  |  |  |  |  |  |  |
| Contractor Details |  |  |  |  |  |  | Date: |  |  |  |  | Time: |
| Advise the caller to do the following; Please tick or cross the box: |  |  |  |  |  |  |  |  |  |  |  |  |
| Do isolate the gas supply at the gas meter (ECV) if safe to do so. Unless in a basement or cellar. Do isolate fuel burning appliances if safe to do so |  |  |  |  |  |  |  |  |  |  |  |  |
| Do ventilate property (open doors and windows) if safe to do so. |  |  |  |  |  |  |  |  |  |  |  |  |
| Do extinguish all naked flames, if safe to do so. |  |  |  |  |  |  |  |  |  |  |  |  |
| Do not smoke or strike matches |  |  |  |  |  |  |  |  |  |  |  |  |
| Do keep away from the affected area and or evacuate the building |  |  |  |  |  |  |  |  |  |  |  |  |
| Do Not enter a basement or cellar if there is a smell of gas or report of fumes |  |  |  |  |  |  |  |  |  |  |  |  |
| Do Not enter wood pellet storage areas. |  |  |  |  |  |  |  |  |  |  |  |  |
| Do Not enter Biomass boiler rooms if CO alarm activates |  |  |  |  |  |  |  |  |  |  |  |  |
| Do Not operate electrical switches (On or Off) |  |  |  |  |  |  |  |  |  |  |  |  |
| Do Not enter the building unless instructed to do so by (SGN) |  |  |  |  |  |  |  |  |  |  |  |  |
| Do Not operate fuel burning appliances until instructed to do so by a competent engineer. |  |  |  |  |  |  |  |  |  |  |  |  |